## PRICING
BID RLM - MV & LV CABLES + CONDUCTORS
MV & LV CABLES AND CONDUCTORS
ITEM | DESCRIPTION | PRICE PER |  |  | TENDER | DELIVERY IN
NO | AS SPECIFIED | UNIT |  | 15% | PRICE | RUSTENBURG | STORE
|  | FOR RUSTENBURG |  | V A T | ( V A T ) | (PERIOD IN | ITEM
|  | UNIT | PRICE |  |  | WEEKS) | NUMBER
11 kV - MV CABLES: TYPE B - UNARMOURED
3 CORE 6,35/11 kV XLPE TYPE B UNARMOURED CABLE ,
INDIVIDUALY SCREENED WITH STRANDED Al CONDUCTORS
1 | 35 mm Al | M |  |  |  |  | 370006
2 | 50 mm Al | M |  |  |  |  | 370055
3 | 70 mm Al | M |  |  |  |  | 370016
4 | 95 mm Al | M |  |  |  |  | 370026
5 | 120 mm Al | M |  |  |  |  | 370005
6 | 150 mm Al | M |  |  |  |  | 3700467
7 | 185 mm Al | M |  |  |  |  | 370015
8 | 240 mm Al | M |  |  |  |  | 370050
9 | 300 mm Al | M |  |  |  |  | NONE
10 | 400 mm Al | M |  |  |  |  | 370040
TOTAL FOR BATCH
3 CORE 6,35/11 kV XLPE TYPE B UNARMOURED CABLE ,
INDIVIDUALY SCREENED WITH STRANDED Cu CONDUCTORS
11 | 300 mm Cu | M |  |  |  |  | 374020
3 CORE 6,35/11 kV XLPE TYPE A ARMOURED CABLE ,
12 | 240 mm Cu | M |  |  |  |  | 370075
11 kV - MV CABLES: TYPE A (SWA) - ARMOURED
3 CORE 6,35/11 kV XLPE TYPE A ARMOURED CABLE (SWA)
INDIVIDUALY SCREENED WITH STRANDED Al CONDUCTORS
13 | 35 mm Al | M |  |  |  |  | NONE
14 | 50 mm Al | M |  |  |  |  | NONE
15 | 70 mm Al | M |  |  |  |  | NONE
16 | 95 mm Al | M |  |  |  |  | NONE
17 | 120 mm Al | M |  |  |  |  | NONE
18 | 150 mm Al | M |  |  |  |  | NONE
19 | 185 mm Al | M |  |  |  |  | NONE
20 | 240 mm Al | M |  |  |  |  | NONE
21 | 300 mm Al | M |  |  |  |  | NONE
22 | 400 mm Al | M |  |  |  |  | NONE
TOTAL FOR BATCH
LV CABLES
4 CORE 600/1000 V PVC ; PVC : SWA ;
PVC CABLE WITH SOLID Al CONDUCTOR
23 | 50 mm do | M |  |  |  |  | 368030
24 | 70 mm do | M |  |  |  |  | 368035
25 | 95 mm do | M |  |  |  |  | 368040
26 | 120 mm do | M |  |  |  |  | 368005
27 | 150 mm do | M |  |  |  |  | 368010
28 | 185 mm do | M |  |  |  |  | 368015
29 | 240 mm do | M |  |  |  |  | 368020
30 | 300 mm do | M |  |  |  |  | 368025
TOTAL FOR BATCH
4 CORE 600/1000 V PVC ; PVC : SWA ;
PVC CABLE WITH Cu STRANDED CONDUCTOR
31 | 2.5 mm do | M |  |  |  |  | 372035
32 | 4 mm do | M |  |  |  |  | 372060
33 | 6 mm do | M |  |  |  |  | 372075
34 | 10 mm do | M |  |  |  |  | 372011
35 | 16 mm do | M |  |  |  |  | 372025
36 | 25 mm do | M |  |  |  |  | 372050
TOTAL FOR BATCH
2 CORE 600/1000 V Cu STRANDED
CONDUCTOR CABLE PVC ; PVC : SWA
37 | 2.5 mm do | M |  |  |  |  | 372030
38 | 4 mm do | M |  |  |  |  | 372055
39 | 6 mm do | M |  |  |  |  | 372070
40 | 10 mm do | M |  |  |  |  | 372010
41 | 16 mm do | M |  |  |  |  | 372015
42 | 25 mm do | M |  |  |  |  | 372045
TOTAL FOR BATCH
7 CORE 600/1000 V Cu STRANDED
CONDUCTOR CABLE PVC ; PVC : SWA ; PVC
43 | 2,5 mm do | M |  |  |  |  | 372040
19 CORE 600/1000 V Cu STRANDED
CONDUCTOR CABLE PVC ; PVC : SWA ; PVC
44 | 2,5 mm do | M |  |  |  |  | 372001
AIRDAC SNE without pilot cables (Manufactured to SANS 1507 and NRS 063..
45 | 10 mm | M |  |  |  |  | NONE
46 | 16 mm | M |  |  |  |  | NONE
TOTAL FOR BATCH
CONDUCTORS
SINGLE CORE PVC INSULATED STRANDED COPPER CONDUCTOR
47 | 2.5 mm | M |  |  |  |  | 408020
48 | 4 mm | M |  |  |  |  | 408050
49 | 6 mm | M |  |  |  |  | 408060
50 | 10 mm | M |  |  |  |  | NONE
51A | 16 mm BLACK | M |  |  |  |  | 408010
51B | 16 mm RED | M |  |  |  |  | 408012
51C | 16 mm WHITE | M |  |  |  |  | 408013
51D | 16 mm BLUE | M |  |  |  |  | 408014
52 | 25 mm | M |  |  |  |  | 408025
53 | 35 mm | M |  |  |  |  | 408040
54 | 50 mm | M |  |  |  |  | 408055
55 | 70 mm | M |  |  |  |  | 408065
56 | 95 mm | M |  |  |  |  | 408070
57 | 120 mm | M |  |  |  |  | NONE
58 | 150 mm | M |  |  |  |  | 408005
59 | 185 mm | M |  |  |  |  | 408015
60 | 240 mm | M |  |  |  |  | NONE
61 | 300 mm | M |  |  |  |  | 408030
62 | 35 mm 11kV (HT-tailing)/M | M |  |  |  |  | 408035
TOTAL FOR BATCH
BARE ANNEALED STRANDED COPPER CONDUCTOR
63 | All Seizes | Kg |  |  |  |  | SEE BELOW
| 4mm EARTHWIRE | Kg |  |  |  |  | 406035
| 16mm EARTHWIRE | Kg |  |  |  |  | 406005
| 10mm EARTHWIRE | Kg |  |  |  |  | 405020
| 25mm EARTHWIRE | Kg |  |  |  |  | 406025
| 35mm EARTHWIRE | Kg |  |  |  |  | 406015
| 50mm EARTHWIRE | Kg |  |  |  |  | 406030
| 150mm EARTHWIRE | Kg |  |  |  |  | 406031
TOTAL FOR BATCH
STRANDED ALUMINIUM CONDUCTOR
64 | 7/2,06 AAC MIDGE | M |  |  |  |  | 404020
65 | 7/2,79 AAC LADYBIRD (40) | M |  |  |  |  | 404045
66 | 7/3,40 AAC FLY (63) | M |  |  |  |  | 404050
67 | 7/4,39 AAC WASP (100) | M |  |  |  |  | 404055
68 | 19/3,25 AAC HORNET | M |  |  |  |  | NONE
TOTAL FOR BATCH
STRANDED Al CONDUCTOR - STEEL RE-INFORCED
69 | 6/1/2,36 A.C.S.R. GOPHER (25) | M |  |  |  |  | 404040
70 | 6/1/3,35 A.C.S.R. RABBIT (50) | M |  |  |  |  | 404025
71 | 6/1/3,66 A.C.S.R. MINK (63) | M |  |  |  |  | 404030
72 | 6/1/4,72 A.C.S.R. HARE (100) | M |  |  |  |  | 404035
73 | 30/7/3.35 A.C.S.R. (Bear) (264) | M |  |  |  |  | NONE
74 | 54/7/3.18 A.C.S.R. (Zebra) (428) | M |  |  |  |  | NONE
75 | Kingbird | M |  |  |  |  | NONE
76 | Bersford (687.4) | M |  |  |  |  | NONE
77 | Tsikdoo | M |  |  |  |  | NONE
TOTAL FOR BATCH
ABC BUNDLE CONDUCTOR WITH BARE NEUTRAL (To conform to SCSSCAAD5) and SANS 1418 Part 1 and 2
78 | 3 X 70 + 54.6 | M |  |  |  |  | 368045
79 | 3 X 95 + 54.6 | M |  |  |  |  | 368050
TOTAL FOR BATCH
ABC BUNDLE CONDUCTOR WITH ISOLATED NEUTRAL (To conform to SCSSCAAD5) and SANS 1418 Part 1 and 2
80 | 3 X 70 + 54.6 | M |  |  |  |  | NONE
81 | 3 X 95 + 54.6 | M | add |  |  |  | NONE
TOTAL FOR BATCH
ABC BUNDLE CONDUCTOR WITH BARE NEUTRAL (To conform to SCSSCAAD5) and SANS 1418 Part 1 and 2
82 | 3 X 35 + 35 Bare Neutral | M |  |  |  |  | 368055
83 | 1 X 35 + 35 Bare Neutral | M |  |  |  |  | NONE
84 | 3 X 70 + 70 Bare Neutral | M |  |  |  |  | NONE
TOTAL FOR BATCH
85 | 3 x 70 + 54.6 Insulated Neutral with Streetlight conductor (70x3+55IN + 25SL)
85 |  | M |  |  |  |  | 363072
86 | 3 x 95 + 54.6 Insulated Neutral with Streetlight conductor (95x3+55IN + 25SL)
86 |  | M |  |  |  |  | 363071
87 | 3 x 120 + 54.6 Insulated Neutral with Streetlight conductor (120x3+55IN + 25SL)
87 |  | M |  |  |  |  | 363070
TOTAL FOR BATCH
33kV HV CABLES
Three (3) Core Stranded Copper conductor, semi conductive screen, XLPE Insulated, semi conductive layer over insulation,
semi conductive layer tape, Cu Wire Screen, Waterblocked, Medium Density Polyethelene sheathed semicon
coated – (earthed) type “A2” “B”, 19 - 33 kV to SANS 1339 (swellable tapes under and over the Cu Wire Screen)” or Simmilar. COMPULSORY - TO SUBMIT DATA SHEET FOR TECHNICAL EVALUATION.
Type Cu 240mm2 3C XLPE WB CWS (50) WB MDPE MINEX
88 | 240 mm CU X 3 CORE XLPE MDPE | M |  |  |  |  | 374025
Single Core Stranded Copper conductor, semi conductive screen, XLPE Insulated, semi conductive
layer over insulation, semi conductive layer tape, Cu Wire Screen, Waterblocked, Medium Density
Polyethelene sheathed semicon coated – typeB”, 19 - 33 kV to SANS 1339 (swellable tapes
under and over the Cu Wire Screen)” COMPULSORY TO SUBMIT DATA SHEET FOR TECHNICAL EVALUATION.
89 | 500 mm CU X 1 CORE XLPE | M |  |  |  |  | 374030
Single Core Aluminium conductor, semi conductive screen, XLPE Insulated, semi conductive
layer over insulation, semi conductive layer tape, semi conducting bedding tape, 0.2 mm Cu Tape
Screen, Waterblocked, Medium Density Polyethelene sheathed semicon coated – type "B”,
19 - 33 kV to SANS 1339 (swellable tapes under and over the Cu Tape Screen)” COMPULSORY TO SUBMIT DATA SHEET FOR TECHNICAL EVALUATION.
90 | 300 mm AL X 1 CORE XLPE MDPE | M |  |  |  |  | 370030
91 | 500 mm AL X 1 CORE XLPE MDPE | M |  |  |  |  | 370050
92 | 800 mm ALX 1 CORE XLPE MDPE | M |  |  |  |  | 370065
TOTAL FOR BATCH
88kV HV CABLES
Single (1) Core 500mm2 compacted class 2 aluminium conductor to IEC 60228, Triple layer, simultaneously extruded, cross linked semi conductive conductor screen, Cross linked Polyethylene Insulation, non strippable cross-linked semi conducting core screen insulation. Corrugated Seamless Aluminium (CSA) screen and black MPDE sheath, resistant and protected against radial and longitudinal water penetration and meets the requirements of EC 60840 and Embossed. The cable shall also be tested in accordance with IEC 60840 "COMPULSORY TO SUBMIT DATA SHEET FOR TECHNICAL EVALUATION".
93 | 500 mm AL X 1 CORE XLPE MDPE | M
Note on G226: Aflewering nie ingevul
Note on H226: Aflewering nie ingevul